|  | Model | AOP-IPC3F19P-I3 |
| --- | --- | --- |
| Camera | Pixel | 1.0 Mega Pixel, 1280*720 |
|  | Sensor | 1/4" 1.0M OV CMOS |
|  | Lens | 3.6mm(6/8 optional) |
|  | Electronic shutter | 1/25s-1/30,000s |
|  | Low Lux | Color：0.6Lux@F1.2 B/W：0.08Lux@F1.2 |
|  | Auto iris | N/A |
|  | ICR | Support |
|  | Video parameter | Saturation, brightness, contrast ratio and color tone can be adjusted by customer end or IE explorer |
| IR | IR Properties | Dual filter day / night: automatic switch, linkage switch |
|  | IR Light | 2 ARRAY LEDs, IR Distance: 30M |
| Audio-video coding parameters | Compression | H.264 Main Profile@Level 3.0 / MJPEG optional |
|  | Video bit rate | 0.1M-6Mbps, customized |
|  | Bit stream type | video stream |
|  | Audio compress | N/A |
|  | Audio bit rate | N/A |
|  | Triple bit streams | Support |
| Image | Video resolution | 1280*720 |
|  | Video flame rate | PAL: 1-25 frames/second, NTSC: 1-30 frames/second |
| Function | PTZ | N/A |
|  | Heartbeat mechanism | Support |
|  | IP auto pop-out | IP auto pop-out at customer end |
|  | Password protection | Multi-level protection on password |
|  | Intellectual alarm | Mobile detection, video shielding, video loss, network breakdown, abnormality in storage |
|  | Basic functions | One-key reset, password protection, watermark technology |
| Interface | Audio input | N/A |
|  | Video output | N/A |
|  | Network port | 1 pcs, RJ45 10M/100Mbps self-adaptable Ethernet port |
|  | Serial port | N/A |
|  | Alarm input | N/A |
|  | Alarm output | N/A |
| Wireless network | WIFI | N/A |
|  | Wireless encryption protocol | N/A |
|  | Cell phone monitor | Support |
|  | 3G network | N/A |
| others | POE | Optional |
|  | Power supply | DC12V/1.5A |
|  | Power consumption | <6W |
|  | Working temp | -10℃ ~ +55 ℃ |
|  | Working humidity | 10 ~ 85% |